## Slide 1
GROUND TRUTH · RAT SHAMIR, STRIATAL NEUROPIXELS
How the test data was made
On a real recording nobody knows which neuron a spike came from. So we built recordings where we do: real voltage with its real neurons still in it, plus a few donor neurons whose every spike time we chose ourselves.
1 · Choosing the donor neurons
Hand-reviewed. Gil reviewed every candidate in the review tool; the 33 labelled good became the donor pool.
Then filtered. low contamination (clean refractory period), and a compact spatial footprint.
Pairs checked separately. a cross-correlogram refractory test confirms the two donors are really different cells, not one cell Kilosort had split.
Real snippets, not templates. we inject the neuron's own recorded spikes. A copied template is identical every time, which flatters any sorter — real spikes vary in shape and amplitude, and that variation is what makes sorting hard.
2 · Choosing where to put them
Sites ranked by their loudest resident. every probe site scored by the amplitude of the biggest neuron already living there — 23 to 467 µV across this probe, a 20× contrast to build difficulty from.
Spikes dodge the residents. injection times keep a 75-sample guard from a resident neuron's own spikes — except on the collision tier, where the overlap is the point.
Each unit rotates through tiers. a donor appears at a different difficulty in each recording, so a tier difference is measured within a neuron rather than between neurons.
3 · The four conditions
13 placements per recording · 4 recordings from different windows of the session · ~290 spikes each
TIER
PER REC.
WHERE IT GOES
WHAT MAKES IT HARD
easy
3
quiet site, 23–70 µV neighbours
nothing — this is the control
collision
3
quiet site
each spike placed 4–25 samples (0.13–0.83 ms) from a real resident's spike, so the two waveforms physically overlap
pair
2 pairs
quiet sites, 3 channels apart
two donors put side by side — they must be told apart from each other. Remote in the real recording (181–242 µm, similarity 0.000), so they cannot be one split cell
hard
3
loud site, 223–466 µV neighbours
a large neighbour dominates the channel
52 placements · 15,086 ground-truth spikes. Stock Kilosort is also run twice as a configuration — the noise floor, and how we know the hard tier is unreliable.

## Slide 2
RESULTS · 52 PLACEMENTS, POOLED OVER 4 REPLICATES
What each variant scored
Stock Kilosort4, by condition
recall holds up everywhere · precision collapses where neurons sit close together
easy
88%
recall
76%
precision
collision
83%
recall
59%
precision
pair
72%
recall
49%
precision
hard
not reproducible — never quote it
ALGORITHM
WHAT IT CHANGES
RECALL
PRECISION
VS STOCK
Stock Kilosort4
the baseline
79.4%
60.0%
Coarse + fine timing
slide the snippet ±6 whole samples against the average spike shape, then correct the leftover sub-sample error from wavelet phase
77.1%
58.4%
no gain on either
Footprint ×1
add the spike's spatial footprint — its pattern of amplitude across nearby channels — to what the clustering sees, weighted equal to the waveform
77.1%
65.4%
precision +5.4 (p = 0.010)
Footprint ×3
the same feature weighted three times as strongly, so footprint dominates the waveform
81.2%
62.1%
recall +1.8, precision +2.2
pair recall 72→80 (p = 0.038)
Why footprint appears twice: it is one idea at two strengths, and the weight was the experiment. ×1 buys purity, ×3 buys completeness — neither wins both, so the choice depends on what the analysis needs.
Pooled over all four tiers, as in the Shamir Sorting Audit. Noise floor: stock run twice differs by 0.9 recall / 1.6 precision, all of it on the hard tier.
Scores are for the one best-matching cluster per injected unit — 13 of the ~200 clusters a run produces. The rest are the recording's own neurons, which have no ground truth and are never scored.

## Slide 3
THE OBVIOUS FIX
Why merging the pieces back together does not help
We merged while being told the right answer — the best any merge tool could ever do.
0 of 16
algorithm × tier cells where merging won
it lost in every one
+5 / −12
typical recall gained / precision lost
best case anywhere: +3.2 / −3.6
80.6%
of what comes in is another neuron
a real spike, not noise — chance is 3.9%
There was little to merge in the first place. 67–77% of units already sit in one cluster.
Merging imports a neighbour's spike train, so the cluster stops being a single cell.
A perfect merge tool makes every variant identical, all converging to about 78% recall / 46% precision.
So the failure is not detection and not splitting.
94–96% of injected spikes do land in some cluster. The problem is which cluster each spike goes to — so the lead is the opposite operation: splitting Kilosort's mixed clusters.